|  |  |  |  |
| --- | --- | --- | --- |
| **Customer:** | University of Memphis | **Location/Desc:** | Memphis |
| **Address:** | Physical Plant & Plannin | **Performed by:** | Jess White |
|  | Memphis ,TN 38152 | **Date:** | 05/08/2023 |
| **Job/Order#** | 149838 |  |  |

|  |  |  |  |
| --- | --- | --- | --- |
| **Reason for call:** | Motor install | | |
| **Description of work:** | Installed and aligned motor to less than 3 thou spec. Motor was also terminated and test ran. | | |
| **Equipment and material used:** | 10 shims | | |
| **Recommended additional work:** |  | | |

|  |  |  |  |
| --- | --- | --- | --- |
| **Main Contact:** |  | | |
| **Customer Signature:** |  | | |

