|  |  |  |  |
| --- | --- | --- | --- |
| **Customer:** | University of Memphis | **Location/Desc:** | Memphis |
| **Address:** | Physical Plant & Plannin | **Performed by:** | Kevin W Maxwell |
|  | Memphis ,TN 38152 | **Date:** | 06/01/2023 |
| **Job/Order#** | 150333 |  |  |

|  |  |  |  |
| --- | --- | --- | --- |
| **Reason for call:** | Field balance | | |
| **Description of work:** | Performed Field balance on Gray Gym Air Handler at HPER building | | |
| **Equipment and material used:** | 8 squirrel cage clips | | |
| **Recommended additional work:** |  | | |

|  |  |  |  |
| --- | --- | --- | --- |
| **Main Contact:** | Steve Warren | | |
| **Customer Signature:** |  | | |

