|  |  |  |  |
| --- | --- | --- | --- |
| **Customer:** | University of Memphis  | **Location/Desc:** | Memphis   |
| **Address:** | Physical Plant & Plannin  | **Performed by:** | Kevin W Maxwell  |
|   | Memphis ,TN 38152   | **Date:** | 06/01/2023  |
| **Job/Order#** | 150333  |   |   |

|  |  |
| --- | --- |
| **Reason for call:** | Field balance   |
| **Description of work:** | Performed Field balance on Gray Gym Air Handler at HPER building   |
| **Equipment and material used:** | 8 squirrel cage clips   |
| **Recommended additional work:** |   |

|  |  |
| --- | --- |
| **Main Contact:** | Steve Warren  |
| **Customer Signature:** |   |

