|  |  |  |  |
| --- | --- | --- | --- |
| **Customer:** | VIKING RANGE, LLC  | **Location/Desc:** | GREENWOOD   |
| **Address:** | 5601 VIKING ROAD   | **Performed by:** | Jess White  |
|   | GREENWOOD ,MS 38930   | **Date:** | 07/03/2023  |
| **Job/Order#** | 150574  |   |   |

|  |  |
| --- | --- |
| **Reason for call:** | Fan balances   |
| **Description of work:** | Balanced 4 fans. Informed customer that remaining two fans would have to be removed and shop balanced.   |
| **Equipment and material used:** | Balance Weights   |
| **Recommended additional work:** |   |

|  |  |
| --- | --- |
| **Main Contact:** |   |
| **Customer Signature:** |   |

