|  |  |  |  |
| --- | --- | --- | --- |
| **Customer:** | VIKING RANGE, LLC | **Location/Desc:** | GREENWOOD |
| **Address:** | 5601 VIKING ROAD | **Performed by:** | Jess White |
|  | GREENWOOD ,MS 38930 | **Date:** | 07/03/2023 |
| **Job/Order#** | 150574 |  |  |

|  |  |  |  |
| --- | --- | --- | --- |
| **Reason for call:** | Fan balances | | |
| **Description of work:** | Balanced 4 fans. Informed customer that remaining two fans would have to be removed and shop balanced. | | |
| **Equipment and material used:** | Balance Weights | | |
| **Recommended additional work:** |  | | |

|  |  |  |  |
| --- | --- | --- | --- |
| **Main Contact:** |  | | |
| **Customer Signature:** |  | | |

