|  |  |  |  |
| --- | --- | --- | --- |
| **Customer:** | BASF Corp | **Location/Desc:** | Huntsville |
| **Address:** | 9800 Kellner Road | **Performed by:** | Kevin W Maxwell |
|  | Huntsville ,AL 35824 | **Date:** | 08/30/2023 |
| **Job/Order#** |  |  |  |

|  |  |  |  |
| --- | --- | --- | --- |
| **Reason for call:** | Field service on ID FAN | | |
| **Description of work:** | Performed vibration analysis, replaced fan bearings/housings, and aligned motor to fan shaft. | | |
| **Equipment and material used:** |  | | |
| **Recommended additional work:** |  | | |

|  |  |  |  |
| --- | --- | --- | --- |
| **Main Contact:** | Nicholas Case | | |
| **Customer Signature:** |  | | |

