|  |  |  |  |
| --- | --- | --- | --- |
| **Customer:** | KTG (USA) LP | **Location/Desc:** | Memphis |
| **Address:** | 400 Mahannah | **Performed by:** | Joseph Schurtz |
|  | Memphis ,TN 38107 | **Date:** | 10/12/2023 |
| **Job/Order#** | 151270 |  |  |

|  |  |  |  |
| --- | --- | --- | --- |
| **Reason for call:** | Perform balance on number 8 dust collector | | |
| **Description of work:** | Perform balance on number 8 dust collector | | |
| **Equipment and material used:** | Clamp weights(2) | | |
| **Recommended additional work:** |  | | |

|  |  |  |  |
| --- | --- | --- | --- |
| **Main Contact:** | Randy Embry | | |
| **Customer Signature:** |  | | |