|  |  |  |  |
| --- | --- | --- | --- |
| **Customer:** | KTG (USA) LP  | **Location/Desc:** | Memphis   |
| **Address:** | 400 Mahannah   | **Performed by:** | Joseph Schurtz   |
|   | Memphis ,TN 38107   | **Date:** | 10/12/2023  |
| **Job/Order#** | 151270  |   |   |

|  |  |
| --- | --- |
| **Reason for call:** | Perform balance on number 8 dust collector  |
| **Description of work:** | Perform balance on number 8 dust collector  |
| **Equipment and material used:** | Clamp weights(2)  |
| **Recommended additional work:** |   |

|  |  |
| --- | --- |
| **Main Contact:** | Randy Embry  |
| **Customer Signature:** |   |