|  |  |  |  |
| --- | --- | --- | --- |
| **Customer:** | Roxul USA, Inc.  | **Location/Desc:** | Byhalia   |
| **Address:** | 4594 Cayce Rd   | **Performed by:** | Joseph Shurtz   |
|   | Byhalia ,MS 38611   | **Date:** | 10/28/2023  |
| **Job/Order#** |   |   |   |

|  |  |
| --- | --- |
| **Reason for call:** | Perform alignment and balance on exhaust fan  |
| **Description of work:** | Perform alignment and balance on exhaust fan  |
| **Equipment and material used:** | B shims, clamp weights  |
| **Recommended additional work:** |   |

|  |  |
| --- | --- |
| **Main Contact:** | justin parker  |
| **Customer Signature:** |   |