|  |  |  |  |
| --- | --- | --- | --- |
| **Customer:** | Roxul USA, Inc. | **Location/Desc:** | Byhalia |
| **Address:** | 4594 Cayce Rd | **Performed by:** | Joseph Shurtz |
|  | Byhalia ,MS 38611 | **Date:** | 10/28/2023 |
| **Job/Order#** |  |  |  |

|  |  |  |  |
| --- | --- | --- | --- |
| **Reason for call:** | Perform alignment and balance on exhaust fan | | |
| **Description of work:** | Perform alignment and balance on exhaust fan | | |
| **Equipment and material used:** | B shims, clamp weights | | |
| **Recommended additional work:** |  | | |

|  |  |  |  |
| --- | --- | --- | --- |
| **Main Contact:** | justin parker | | |
| **Customer Signature:** |  | | |