|  |  |  |  |
| --- | --- | --- | --- |
| **Customer:** | NUCOR STEEL MEMPHIS INC.  | **Location/Desc:** | Memphis  |
| **Address:** | 3601 Paul R Lowry Road  | **Performed by:** | Kevin W Maxwell  |
|   | Memphis,TN 38109  | **Date:** | 03/07/2024  |
| **Job/Order#** |   |   |   |

|  |  |
| --- | --- |
| **Reason for call:** | Field balance  |
| **Description of work:** | Checked baghouse fan 4. Found slight imbalance We will return on Monday to balance fan  |
| **Equipment and material used:** |   |
| **Recommended additional work:** |   |

|  |  |
| --- | --- |
| **Main Contact:** | Chris Anderson  |
| **Customer Signature:** |   |