|  |  |  |  |
| --- | --- | --- | --- |
| **Customer:** | Roxul USA, Inc. | **Location/Desc:** | Byhalia |
| **Address:** | 4594 Cayce Rd | **Performed by:** | Joseph Shurtz |
|  | Byhalia,MS 38611 | **Date:** | 03/15/2024 |
| **Job/Order#** | 152356 |  |  |

|  |  |  |  |
| --- | --- | --- | --- |
| **Reason for call:** | Balance SPC fan | | |
| **Description of work:** | Performed balance on the SPC fan | | |
| **Equipment and material used:** |  | | |
| **Recommended additional work:** |  | | |

|  |  |  |  |
| --- | --- | --- | --- |
| **Main Contact:** | justin parker | | |
| **Customer Signature:** |  | | |

**NOTES**