|  |  |  |  |
| --- | --- | --- | --- |
| **Customer:** | NORBORD MISSISSIPPI LLC  | **Location/Desc:** | GUNTOWN  |
| **Address:** | 1194 HWY 145  | **Performed by:** | Kevin W Maxwell  |
|   | GUNTOWN,MS 38849  | **Date:** | 06/06/2024  |
| **Job/Order#** | 152924  |   |   |

|  |  |
| --- | --- |
| **Reason for call:** | Field balance  |
| **Description of work:** | Performed field balance on BY LP Fan. Reduced imbalance amplitude by 88%  |
| **Equipment and material used:** |   |
| **Recommended additional work:** |   |

|  |  |
| --- | --- |
| **Main Contact:** | Jamie Hodge  |
| **Customer Signature:** |   |