|  |  |  |  |
| --- | --- | --- | --- |
| **Customer:** | Hi-Speed Industrial Service  | **Location/Desc:** | Millington  |
| **Address:** | 7030 Ryburn Drive  | **Performed by:** | Joseph Shurtz   |
|   | Millington,TN 38053  | **Date:** | 08/05/2024  |
| **Job/Order#** |   |   |   |

|  |  |
| --- | --- |
| **Reason for call:** | Check balance on boiler ID fan.  |
| **Description of work:** | Found both bearings bad and inboard motor bearing bad as well, helped swap out both bearings motor, sheave alignment and check to see if needed balancing  |
| **Equipment and material used:** |   |
| **Recommended additional work:** | Fix structural cracks  |

|  |  |
| --- | --- |
| **Main Contact:** |   |
| **Customer Signature:** |   |



**NOTES**