|  |  |  |  |
| --- | --- | --- | --- |
| **Customer:** | KTG (USA) LP  | **Location/Desc:** | Memphis  |
| **Address:** | 400 Mahannah  | **Performed by:** | Kevin W Maxwell  |
|   | Memphis,TN 38107  | **Date:** | 08/09/2024  |
| **Job/Order#** | 153343  |   |   |

|  |  |
| --- | --- |
| **Reason for call:** | Alignment Balance  |
| **Description of work:** | Performed laser alignment and field balance on line 10 dust collector fan  |
| **Equipment and material used:** | 6 C Shims 1 clamp weight  |
| **Recommended additional work:** |   |

|  |  |
| --- | --- |
| **Main Contact:** | Randy Embry  |
| **Customer Signature:** |   |



**NOTES**