|  |  |  |  |
| --- | --- | --- | --- |
| **Customer:** | GEORGIA PACIFIC GYPSUM  | **Location/Desc:** | CUMBERLAND CITY  |
| **Address:** | 150 TEMPLE DR  | **Performed by:** | Kevin W Maxwell  |
|   | CUMBERLAND CITY,TN 37050  | **Date:** | 08/13/2024  |
| **Job/Order#** |   |   |   |

|  |  |
| --- | --- |
| **Reason for call:** | Aegis meter shaft voltage test Aegis ring install and test  |
| **Description of work:** | Performed Aegis meter shaft voltage test Aegis ring install and test Found zero volts before and after installing Aegis ring.  |
| **Equipment and material used:** |   |
| **Recommended additional work:** |   |

|  |  |
| --- | --- |
| **Main Contact:** | michael treat  |
| **Customer Signature:** |   |



**NOTES**