Date: 05/21/2019

Account:
Operation:
Attention: To whom it may concern
Reference: Job#139627 Direct Drive

To whom it may concern,

Upon completing a full evaluation on xx/yy/zz, the following was found:
Rewind fields and exciter on the rotor
Looks like something got into the wow,


Please find attached, all supporting documentation along images of discovery found during the teardown & inspection of this evaluation. Should you have any questions or require further assistance with this matter, please contact us.

Our estimate for repair of the apparatus is attached as a supplementary document.

Sincerely,

Andrew Skala
Senior Motor Shop Coordinator & Electrical Engineer