Date: 06/24/2019

HILR
Account:
Operation:
Attention: To whom it may concern
Reference: Job#140002 Radial Load

To whom it may concern,

Upon completing a full evaluation on xx/yy/zz, the following was found:
Winding and bearing
Water an grease

Bearings and clean up wave washer in ode replace pulley outside circumference 13 3/8 ". 5 grooves 3 3/4" inside

Please find attached, all supporting documentation along images of discovery found during the teardown & inspection of this evaluation. Should you have any questions or require further assistance with this matter, please contact us.

Our estimate for repair of the apparatus is attached as a supplementary document.

Sincerely,

Andrew Skala
Senior Motor Shop Coordinator & Electrical Engineer