Date: 06/21/2019

HSLR
Account:
Operation:
Attention: To whom it may concern
Reference: Job#140021 Direct Drive

To whom it may concern,

Upon completing a full evaluation on xx/yy/zz, the following was found:
Bearings and fan
Water

Needs cleaned and baked out springs go in ODE bearing cap Order new fan bearings

Please find attached, all supporting documentation along images of discovery found during the teardown & inspection of this evaluation. Should you have any questions or require further assistance with this matter, please contact us.

Our estimate for repair of the apparatus is attached as a supplementary document.

Sincerely,

Andrew Skala
Senior Motor Shop Coordinator & Electrical Engineer