Date: 08/01/2019

Process Power
Account:
Operation:
Attention: Jennifer McClain
Reference: Job#140307 Direct Drive

Jennifer McClain ,

Upon completing a full evaluation on xx/yy/zz, the following was found:
Blown in slot
Bearing failure

Drive end bearing failure causing rotor to drag and blow winding

Please find attached, all supporting documentation along images of discovery found during the teardown & inspection of this evaluation. Should you have any questions or require further assistance with this matter, please contact us.

Our estimate for repair of the apparatus is attached as a supplementary document.

Sincerely,

Andrew Skala
Senior Motor Shop Coordinator & Electrical Engineer