Date: 05/30/2019

IRG
Account:
Operation:
Attention: Mitch
Reference: Job#Test Radial Load

Mitch,

Upon completing a full evaluation on xx/yy/zz, the following was found:
Winding single-phased (wye-connected)

A single-phased winding failure is the result of an open in one phase of the power supply to the motor. The open is usually caused by a blown fuse, an open contactor, a broken power line or bad connections.


Please find attached, all supporting documentation along images of discovery found during the teardown & inspection of this evaluation. Should you have any questions or require further assistance with this matter, please contact us.

Our estimate for repair of the apparatus is attached as a supplementary document.

Sincerely,

Andrew Skala
Senior Motor Shop Coordinator & Electrical Engineer