|  | ### INITIAL BALANCE __________ RPM | ##### FINAL BALANCE __________ RPM |
| --- | --- | --- |
| DRIVE END | MILS / OZ – IN @  / ISO G_____ | MILS / OZ - IN @  / ISO G_____ |
| OPP DRIVE END | MILS / OZ – IN @  / ISO G_____ | MILS / OZ - IN @  / ISO G_____ |

### FINAL ASSEMBLY 								COMPLETED BY:

|  |  | N/A |  |  |  |  | N/A |  |  |  |  |  | N/A |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| PARTS CLEANED/CHECKED |  |  |  | OVERLOADS INSTALLED |  |  |  |  | SEAL ALL MATING SURFACES |  |  |  |  |
| ROTOR BALANCED |  |  |  | STATOR / ROTOR SCRAPED |  |  |  |  | COUNT STATOR SLOTS |  |  |  |  |
| ALL FITS CLEANED/NO BURS |  |  |  | MACHINE WORK COMPLETED |  |  |  |  | COUNT ROTOR BARS |  |  |  |  |
| BOLT HOLES TAPPED |  |  |  | SEALS INSTALLED |  |  |  |  | #### ASSEMBLE |  |  |  |  |
| NEW BEARINGS INSTALLED | DE |  | # |  | Mfg. |  |  | ODE |  | # | Mfg. |  |  |

### FINAL ELECTRICAL								COMPLETED BY:

|  | AC |  |  | DC |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| TEST | STATOR | ROTOR | TEST | FIELDS | SERIES | INTERPOLES | ARMATURE |
| MEGGER |  |  | MEGGER |  |  |  |  |
| HI-POT |  |  | HI-POT |  |  |  |  |
| SURGE |  |  | VOLT DROP |  |  |  |  |
| OPEN ROTOR |  |  | BAR-BAR |  |  |  |  |
| RESISTANCE |  |  | GROWLER |  |  |  |  |
| PI |  |  | PI |  |  |  |  |

## QA   _____

### FINAL NO-LOAD 								COMPLETED BY:

| APPLICABLE YES NO |  |  |  | HORIZONTAL |  |  |  | VERTICAL |  | AXIAL |  | BRG TEMP @ 1 MIN |  |  | BRG TEMP @ 30 MIN |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| VIBRATION READINGS |  | DE |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | ODE |  |  |  |  |  |  |  |  |  |  |  |  |  |
| HI SPEED VOLTS |  | AMPS |  | A |  |  |  | B |  | C |  | AMB TEMP  |  |  |  |
| LOW SPEED VOLTS |  | AMPS |  | A |  |  |  | B |  | C |  | TEST RUN TIME MINS |  |  |  |
| MEASURE SECONDARY VOLTAGE |  |  |  |  | 1-2 |  | 2-3 |  |  | 1-3 |  | RPM |  |  |  |
| ARM VOLTS | ARM AMPS |  |  |  |  | RPM |  |  | A1+ F1+ |  | CW Rotation |  |  | CCW Rotation |  |
| FLD VOLTS | FLD AMPS |  |  |  |  |  |  |  | A1- F1+ |  | CW Rotation |  |  | CCW Rotation |  |
| Neutral Set |  |  | Brush/Interpole Relationship |  |  |  |  |  | Brushes Seated |  |  |  | Commutation |  |  |

### FINAL COMMENTS

FINAL REPAIRMAN ________________________ SUPERVISOR ___________________________ DATE _____________

## QA   _____

### FINAL INSPECTION	Complete Assembly Check List Sheet and Attach.			COMPLETED BY

| PAINTED | INSTALL LUGS | COVERS INSTALLED | POLISH SHAFT |
| --- | --- | --- | --- |
| PROTECT SHAFT | GREASE FITTINGS | LABEL LEADS | INSTALL TAGS |
| GEAR INSTALLED | GREASE BEARINGS | COMPANY STICKER |  |

SEE  CUSTOMER  FOLDER  FOR  CUSTOMER  SPECIFICATIONS