| CONTACT | COMPANY P.O. | QUOTED YES  NO  |
| --- | --- | --- |
| TEL # | FAX # | PRICE |
| DATE RECEIVED | DATE PROMISED | AUTHORIZED BY: |
| MFR | PH HZ SF | ENCL: TEFC ODP TENV EXP |
| FRAME | EFF DESIGN CODE | OTHER: |
| HP/KW | MODEL | ASSEMBLY: STD NON-STD |
| RPM | CATALOG | DUTY: CONT INT TIME _______ |
| VOLTS | SERIAL | Winding: |
| AMPS | TYPE | Temp. Rise / Max. Amb. |
| DEPARTMENT----- LMR : SMR : | AC: 1PH : 3PH : DC : GEN : | PUMP: RAND: FORM OTHER |

|  | O | B | M | NA |  | O | B | M | NA |  | O | B | M | NA |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| FRAME |  |  |  |  | COVERS |  |  |  |  | SHAFT |  |  |  |  |
| CONNECTION BOX |  |  |  |  | EYEBOLT |  |  |  |  | COUPLING/ PULLY/ GEAR |  |  |  |  |
| CONN BOX COVER |  |  |  |  | LEADS |  |  |  |  | Mounted: |  |  |  |  |
| FAN COVER |  |  |  |  | LUGS |  |  |  |  | BRAKE |  |  |  |  |
| FAN |  |  |  |  | NAMEPLATE |  |  |  |  | BRUSHES/HOLDERS/ CAPS |  |  |  |  |
| BRUSH PART NO |  |  |  |  | BRUSH TYPE/QTY |  |  |  |  |  |  |  |  |  |
| ### CAUSE OF FAILURE |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

|  | AC |  |  | DC |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| TEST | STATOR | ROTOR | TEST | FIELDS | SERIES | INTERPOLES | ARMATURE |
| MEGGER | M |  | MEGGER | M | M | M | M |
| HI-POT |  |  | HI-POT |  |  |  |  |
| SURGE |  |  | VOLT DROP |  |  |  |  |
| OPEN ROTOR |  |  | BAR-BAR |  |  |  |  |
| RESISTANCE |  |  | GROWLER |  |  |  |  |
|  | PASS  FAIL | PASS  FAIL |  | PASS  FAIL | PASS  FAIL | PASS  FAIL  | PASS  FAIL |

NOTES AND COMMENTS